## US
year | Cole et al 2021 |  | Williams et al 2021 |  |  | Clack et al 2020 Vibrant Clean Energy |  |  |  |  | newInstalledCapacity_SF-LvR_48years & 70% Recycled_[MW] | Solar Futures |  |  |  |  | Electrification Futures
| US RE100 | US RE100 | US, RE100 |  | US, RE100 | US, Clean Electricity, detailed DPV |  |  |  |  | 1200.6513 | SF:Decarb | SF:Decarb | SF:Ref | SF:decarb+E | SF:decarb+E | US High Electrification
year | MW_cum | MW_Annual | MW_cum*calculated, doesn't quite align | MW_annual avg | GW_Annual avg | GW_cum *digitized | GW_annual*digitized | GW_cum*calc | MW_annual | MW_cum | 2534.3001 | MW_annual | MW_cum | MW_annual | MW_cum | MW_annual | GW_cum | GW_annual | MW_cum | MW_annual
2020 | 79620.8321 | 17083.9189 | 96109 | 23000 | 23 | 108 | 23 | 131 | 23000 | 131000 | 2534.3001 | 24357.2093 | 24357.2093 | 16904.8149 | 24541.2976 | 24541.2976 | 109.3488 | 32.1443 | 109348.8433 | 32144.3012 | time | Rooftop PV_GW | Utility PV_GW
2021 | 113930.3562 | 34309.5241 | 119109 | 23000 | 23 |  | 23 | 154 | 23000 | 154000 | 5123.0323 | 26212.6767 | 50569.886 | 4479.8337 | 51089.2497 | 26547.9521 | 154.6659 | 45.317 | 154665.8802 | 45317.0369 | 2018 | 16.7956 | 37.1287 | 53.9243
2022 | 148239.8803 | 34309.5241 | 142109 | 23000 | 23 |  | 23 | 177 | 23000 | 177000 | 5123.0323 | 26212.6767 | 76782.5626 | 4479.8337 | 77637.2018 | 26547.9521 | 199.9829 | 45.317 | 199982.9171 | 45317.0369 | 2020 | 20.9084 | 62.7384 | 83.6469
2023 | 172476.2963 | 24236.416 | 165109 | 23000 | 23 |  | 23 | 200 | 23000 | 200000 | 9477.5425 | 56235.4507 | 133018.0133 | 13634.5897 | 129318.7159 | 51681.5141 | 243.595 | 43.6121 | 243594.9733 | 43612.0562 | 2022 | 25.7927 | 99.6165 | 125.4092
2024 | 196712.7122 | 24236.416 | 188109 | 23000 | 23 |  | 23 | 223 | 23000 | 223000 | 9477.5425 | 56235.4507 | 189253.464 | 13634.5897 | 181000.23 | 51681.5141 | 287.207 | 43.6121 | 287207.0295 | 43612.0562 | 2024 | 30.9351 | 134.7331 | 165.6683
2025 | 270858.8007 | 74146.0885 | 211109 | 23000 | 23 | 225 | 26 | 249 | 26000 | 249000 | 9156.7789 | 104575.806 | 293829.27 | 28006.3247 | 287557.4273 | 106557.1973 | 323.302 | 36.095 | 323302.045 | 36095.0155 | 2026 | 37.5263 | 161.8211 | 199.3475
2026 | 345004.8892 | 74146.0885 | 234109 | 40000 | 40 |  | 26 | 275 | 26000 | 275000 | 9156.7789 | 104575.806 | 398405.0761 | 28006.3247 | 394114.6246 | 106557.1973 | 359.3971 | 36.095 | 359397.0605 | 36095.0155 | 2028 | 45.875 | 207.3324 | 253.2074
2027 | 402406.1908 | 57401.3016 | 274109 | 40000 | 40 |  | 26 | 301 | 26000 | 301000 | 16995.843 | 130839.7337 | 529244.8097 | 26628.1404 | 544768.4238 | 150653.7992 | 417.493 | 58.0959 | 417492.9694 | 58095.9089 | 2030 | 56.1317 | 290.5056 | 346.6373
2028 | 459807.4923 | 57401.3016 | 314109 | 40000 | 40 |  | 26 | 327 | 26000 | 327000 | 16995.843 | 130839.7337 | 660084.5434 | 26628.1404 | 695422.223 | 150653.7992 | 475.5889 | 58.0959 | 475588.8783 | 58095.9089 | 2032 | 67.4925 | 403.3315 | 470.824
2029 | 541005.4788 | 81197.9865 | 354109 | 40000 | 40 |  | 26 | 353 | 26000 | 353000 | 4723.593 | 168637.0657 | 828721.6091 | 44459.7512 | 902924.3211 | 207502.0981 | 577.0853 | 101.4964 | 577085.3038 | 101496.4255 | 2034 | 80.4804 | 485.1609 | 565.6413
2030 | 622203.4653 | 81197.9865 | 394109 | 40000 | 40 | 355 | 30 | 383 | 30000 | 383000 | 4723.593 | 168637.0657 | 997358.6748 | 44459.7512 | 1110426.4192 | 207502.0981 | 678.5817 | 101.4964 | 678581.7294 | 101496.4255 | 2036 | 95.3222 | 524.5654 | 619.8876
2031 | 688215.5271 | 66012.0618 | 434109 | 68000 | 68 |  | 30 | 413 | 30000 | 413000 | 34173.1443 | 191914.8239 | 1189273.4987 | 12957.1874 | 1350270.8255 | 239844.4063 | 813.8767 | 135.295 | 813876.7056 | 135294.9763 | 2038 | 111.4442 | 582.116 | 693.5602
2032 | 754227.5889 | 66012.0618 | 502109 | 68000 | 68 |  | 30 | 443 | 30000 | 443000 | 34173.1443 | 191914.8239 | 1381188.3226 | 12957.1874 | 1590115.2318 | 239844.4063 | 949.1717 | 135.295 | 949171.6819 | 135294.9763 | 2040 | 127.6043 | 593.8791 | 721.4834
2033 | 814163.4441 | 59935.8552 | 570109 | 68000 | 68 |  | 30 | 473 | 30000 | 473000 | 73232.0458 | 228720.8785 | 1609909.201 | 11610.6885 | 1904802.1556 | 314686.9238 | 1051.7368 | 102.5651 | 1051736.8115 | 102565.1296 | 2042 | 139.2369 | 639.2922 | 778.5291
2034 | 874099.2993 | 59935.8552 | 638109 | 68000 | 68 |  | 30 | 503 | 30000 | 503000 | 73232.0458 | 228720.8785 | 1838630.0795 | 11610.6885 | 2219489.0794 | 314686.9238 | 1154.3019 | 102.5651 | 1154301.9411 | 102565.1296 | 2044 | 148.0888 | 682.9833 | 831.0721
2035 | 941138.6509 | 67039.3515 | 706109 | 68000 | 68 | 504 | 25 | 528 | 25000 | 528000 | 61963.949 | 277900.1164 | 2116530.1959 | 12365.7541 | 2600553.9093 | 381064.83 | 1211.721 | 57.4191 | 1211721.0408 | 57419.0997 | 2046 | 155.3321 | 741.4079 | 896.7401
2036 | 1008178.0024 | 67039.3515 | 774109 | 78000 | 78 |  | 25 | 553 | 25000 | 553000 | 61963.949 | 277900.1164 | 2394430.3123 | 12365.7541 | 2981618.7393 | 381064.83 | 1269.1401 | 57.4191 | 1269140.1405 | 57419.0997 | 2048 | 161.522 | 823.1341 | 984.6562
2037 | 1086731.2902 | 78553.2878 | 852109 | 78000 | 78 |  | 25 | 578 | 25000 | 578000 | 81314.8496 | 294943.9156 | 2689374.228 | 21040.8846 | 3406059.1845 | 424440.4452 | 1347.8076 | 78.6675 | 1347807.6129 | 78667.4724 | 2050 | 167.2119 | 907.7528 | 1074.9647
2038 | 1165284.5781 | 78553.2878 | 930109 | 78000 | 78 |  | 25 | 603 | 25000 | 603000 | 81314.8496 | 294943.9156 | 2984318.1436 | 21040.8846 | 3830499.6298 | 424440.4452 | 1426.4751 | 78.6675 | 1426475.0854 | 78667.4724
2039 | 1252711.4728 | 87426.8947 | 1008109 | 78000 | 78 |  | 25 | 628 | 25000 | 628000 | 49200.3422 | 297685.3876 | 3282003.5312 | 20625.094 | 4261851.9006 | 431352.2708 | 1454.583 | 28.1079 | 1454582.979 | 28107.8936
2040 | 1340138.3675 | 87426.8947 | 1086109 | 78000 | 78 | 635 | 33 | 661 | 33000 | 661000 | 49200.3422 | 297685.3876 | 3579688.9189 | 20625.094 | 4693204.1713 | 431352.2708 | 1482.6909 | 28.1079 | 1482690.8726 | 28107.8936
2041 | 1366396.6689 | 26258.3013 | 1164109 | 99000 | 99 |  | 33 | 694 | 33000 | 694000 | 100734.8921 | 300199.6759 | 3879888.5948 | 18778.5343 | 5148890.9805 | 455686.8092 | 1543.7489 | 61.058 | 1543748.8895 | 61058.0169
2042 | 1392654.9702 | 26258.3013 | 1263109 | 99000 | 99 |  | 33 | 727 | 33000 | 727000 | 100734.8921 | 300199.6759 | 4180088.2707 | 18778.5343 | 5604577.7897 | 455686.8092 | 1604.8069 | 61.058 | 1604806.9064 | 61058.0169
2043 | 1416251.6991 | 23596.729 | 1362109 | 99000 | 99 |  | 33 | 760 | 33000 | 760000 | 89886.8443 | 304181.4805 | 4484269.7511 | 34424.3613 | 6089038.5438 | 484460.7541 | 1661.362 | 56.5551 | 1661362.0463 | 56555.1398
2044 | 1439848.4281 | 23596.729 | 1461109 | 99000 | 99 |  | 33 | 793 | 33000 | 793000 | 89886.8443 | 304181.4805 | 4788451.2316 | 34424.3613 | 6573499.298 | 484460.7541 | 1717.9172 | 56.5551 | 1717917.1861 | 56555.1398
2045 | 1469462.4215 | 29613.9934 | 1560109 | 99000 | 99 | 800 | 50 | 843 | 50000 | 843000 | 59996.0658 | 315180.674 | 5103631.9056 | 26837.6727 | 7105736.1368 | 532236.8388 | 1789.2489 | 71.3318 | 1789248.9453 | 71331.7592
2046 | 1499076.4148 | 29613.9934 | 1659109 | 169000 | 169 |  | 50 | 893 | 50000 | 893000 | 59996.0658 | 315180.674 | 5418812.5796 | 26837.6727 | 7637972.9756 | 532236.8388 | 1860.5807 | 71.3318 | 1860580.7044 | 71331.7592
2047 | 1534280.0419 | 35203.6271 | 1828109 | 169000 | 169 |  | 50 | 943 | 50000 | 943000 | 13613.5037 | 348105.2742 | 5766917.8538 | 42306.2361 | 8195393.6619 | 557420.6863 | 1956.6757 | 96.095 | 1956675.7122 | 96095.0077
2048 | 1569483.6691 | 35203.6271 | 1997109 | 169000 | 169 |  | 50 | 993 | 50000 | 993000 | 13613.5037 | 348105.2742 | 6115023.1281 | 42306.2361 | 8752814.3482 | 557420.6863 | 2052.7707 | 96.095 | 2052770.7199 | 96095.0077
2049 | 1620517.4251 | 51033.756 | 2166109 | 169000 | 169 |  | 50 | 1043 | 50000 | 1043000 | 36887.2634 | 358802.7903 | 6473825.9184 | 29545.3269 | 9349738.8529 | 596924.5048 | 2151.5944 | 98.8237 | 2151594.4078 | 98823.6879
2050 | 1671551.1811 | 51033.756 | 2392000 | 169000 | 169 | 1045 | 50 | 1093 | 50000 | 1093000 | 36887.2634 | 358802.7903 | 6832628.7087 | 29545.3269 | 9946663.3577 | 596924.5048 | 2250.4181 | 98.8237 | 2250418.0958 | 98823.6879
2051 | 1671.5512 | [9 empty] | 44331.1428 |  | 6832.6287
2052 | 1392.9593 | [9 empty] | 44331.1428
2053 | [10 empty] | 71991.7961
2054 | [10 empty] | 71991.7961
2055 | [10 empty] | 42648.3369
2056 | [10 empty] | 42648.3369
2057 | [10 empty] | 69993.4572
2058 | [10 empty] | 69993.4572
2059
2060
2061
2062
2063
2064
2065
2066
2067
2068
2069
2070
2071
2072
2073
2074
2075
2076
2077
2078
2079
2080
2081
2082
2083
2084
2085
2086
2087
2088
2089
2090
2091
2092
2093
2094
2095
2096
2097
2098
2099
2100

## Global
year | IEA Net Zero by 2050 |  | DNV GL Energy Transition Outlook 2021 |  | BNEF The Afterlife of Solar Panels, 2020 |  | BNEF New Energy Outlook 2021
| https://irena.org/Statistics/View-Data-by-Topic/Energy-Transition/REmap-Energy-Generation-and-Capacity | [5 empty] | green scenario | 627.7419
year | GW_annual | GW_cum (Table A3) | TW_cum | TW_annual*calced | MW_annual | GW_cum*calcd | GW_cum | GW_annual
2020 | 160 | 737 | 0.8 |  | 127000 | 127 |  | 455
2021 |  |  | 0.9 | 0.1 | 157152 | 284.152 |  | 455
2022 |  |  | 1.1 | 0.2 | 155879 | 440.031 |  | 455
2023 |  |  | 1.4 | 0.3 | 141382.5468 | 581.4135 |  | 455
2024 |  |  | 1.6 | 0.2 | 147251.4287 | 728.665 |  | 455
2025 |  |  | 2 | 0.4 | 162862.2428 | 891.5272 |  | 455
2026 |  |  | 2.4 | 0.4 | 145835.0196 | 1037.3622 |  | 455
2027 |  |  | 2.7 | 0.3 | 165666.4874 | 1203.0287 |  | 455
2028 |  |  | 3.2 | 0.5 | 186579.0618 | 1389.6078 |  | 455
2029 |  |  | 3.7 | 0.5 | 199036.6159 | 1588.6444 |  | 455
2030 | 630 | 4956 | 4.2 | 0.5 | 207800.0278 | 1796.4444 |  | 710
2031 | 600 |  | 4.8 | 0.6 | 196078.16 | 1992.5226 |  | 710
2032 | 600 |  | 5.1 | 0.3 | 226191.9666 | 2218.7146 |  | 710
2033 | 600 |  | 5.7 | 0.6 | 244860.6062 | 2463.5752 |  | 710
2034 | 600 |  | 6.2 | 0.5 | 265778.6517 | 2729.3538 |  | 710
2035 | 600 |  | 6.6 | 0.4 | 261127.5158 | 2990.4813 |  | 710
2036 | 600 |  | 6.9 | 0.3 | 289313.7906 | 3279.7951 |  | 710
2037 | 600 |  | 7.3 | 0.4 | 267295.2401 | 3547.0904 |  | 710
2038 | 600 |  | 7.5 | 0.2 | 297064.0255 | 3844.1544 |  | 710
2039 | 600 |  | 7.8 | 0.3 | 277844.3172 | 4121.9987 |  | 710
2040 | 600 | 10980 | 8.1 | 0.3 | 317615.2926 | 4439.614 |  | 710
2041 | 600 |  | 8.5 | 0.4 | 290161.7969 | 4729.7758 |  | 710
2042 | 600 |  | 8.8 | 0.3 | 288085.5927 | 5017.8614 |  | 710
2043 | 600 |  | 9.2 | 0.4 | 290678.1784 | 5308.5396 |  | 710
2044 | 600 |  | 9.5 | 0.3 | 262357.4386 | 5570.897 |  | 710
2045 | 600 |  | 10 | 0.5 | 322479.1549 | 5893.3762 |  | 710
2046 | 600 |  | 10.2 | 0.2 | 299680.6905 | 6193.0568 |  | 710
2047 | 600 |  | 10.8 | 0.6 | 336708.395 | 6529.7652 |  | 710
2048 | 600 |  | 11.2 | 0.4 | 286159.781 | 6815.925 |  | 710
2049 | 600 |  | 11.8 | 0.6 | 263731.9663 | 7079.657 |  | 710
2050 | 630 | 14458 | 12.5 | 0.7 | 267733.6013 | 7347.3906 | 20000 | 710
2051
2052
2053
2054
2055
2056
2057
2058
2059
2060
2061
2062
2063
2064
2065
2066
2067
2068
2069
2070
2071
2072
2073
2074
2075
2076
2077
2078
2079
2080
2081
2082
2083
2084
2085
2086
2087
2088
2089
2090
2091
2092
2093
2094
2095
2096
2097
2098
2099
2100